## AC
Measured voltage is >30V (AC or DC)	AC	AC	AC	AC	AC	AC	AC	mAC
Data hold							t
Negative reading
AC/DC measurement
Low battery indication
Auto range	t		t	t
Diode test
Continuity test
Relative value measurement					t
Resistance units: ohm, kilohm, megaohm
Voltage units: millivolt, volt	V	V			V	V	V
Current units: microampere, milliampere, ampere
Capacitance units: nanofarad, microfarad, millifarad
Frequency, duty ratio			freq	%
Data transmission	t	t	t	t	t	t	t
Transistor magnification (UT61E+)
Non-contact voltage detection
Peak measurement (UT61D+/UT61E+)
Maximum/Minimum measurement
Low impedance measurement (UT61D+)		t	t	t
Transistor magnification measurement (UT61E+)
Auto power off
True RMS	t	t			t	t	t

Valores	00 30	18 33	04 30	05 30	00 30	00 30	00 30	01 30
		30 34 30			31 34 30	30 34 30	32 34 30

## DC
Measured voltage is >30V (AC or DC)	DC	DC+AC	mV
Data hold
Negative reading
AC/DC measurement
Low battery indication
Auto range
Diode test
Continuity test
Relative value measurement
Resistance units: ohm, kilohm, megaohm
Voltage units: millivolt, volt
Current units: microampere, milliampere, ampere
Capacitance units: nanofarad, microfarad, millifarad
Frequency, duty ratio
Data transmission
Transistor magnification (UT61E+)
Non-contact voltage detection
Peak measurement (UT61D+/UT61E+)
Maximum/Minimum measurement
Low impedance measurement (UT61D+)
Transistor magnification measurement (UT61E+)
Auto power off
True RMS

Valores	0x02 0x30	19	0x03

## Hoja3
ohmios	continuidad	diodos	capacitor	hfe	U corriente ac	U corriente dc	m corriente dc	m corriente ac	corriente cd	corriente ac	ncv
0x06	7	8	9	12	0d	c	e	f	10	11	14